- Joint Sealants

- Section 079200

PART 1  GENERAL

SECTION INCLUDES

Non-sag gunnable joint sealants.

RELATED REQUIREMENTS

Section 016116 - Volatile Organic Compound (VOC) Content Restrictions:  Additional requirements for sealants and primers.

Section 071300 - Sheet Waterproofing:  Sealing cracks and joints in waterproofing substrate surfaces using materials specified in this section.

Section 072500 - Weather Barriers:  Sealants required in conjunction with air barriers and vapor retarders.

Section 092116 - Gypsum Board Assemblies:  Sealing acoustical and sound-rated walls and ceilings.

Section 092216 - Non-Structural Metal Framing:  Sealing between framing and adjacent construction in acoustical and sound-rated walls and ceilings.

Section 092300 - Gypsum Plastering:  Sealing acoustical and sound-rated walls and ceilings.

Section 092613 - Gypsum Veneer Plastering:  Sealing acoustical and sound-rated walls and ceilings.

Section 093000 - Tiling:  Sealant between tile and plumbing fixtures and at junctions with other materials and changes in plane.

REFERENCE STANDARDS

ASTM C661 - Standard Test Method for Indentation Hardness of Elastomeric-Type Sealants by Means of a Durometer 2015.

ASTM C794 - Standard Test Method for Adhesion-In-Peel of Elastomeric Joint Sealants 2018.

ASTM C834 - Standard Specification for Latex Sealants 2017.

ASTM C919 - Standard Practice for Use of Sealants in Acoustical Applications 2018.

ASTM C920 - Standard Specification for Elastomeric Joint Sealants 2018.

ASTM C1087 - Standard Test Method for Determining Compatibility of Liquid-Applied Sealants with Accessories Used in Structural Glazing Systems 2016.

ASTM C1193 - Standard Guide for Use of Joint Sealants 2016.

ASTM C1248 - Standard Test Method for Staining of Porous Substrate by Joint Sealants 2018.

ASTM C1521 - Standard Practice for Evaluating Adhesion of Installed Weatherproofing Sealant Joints 2019 (Reapproved 2020).

ASTM D2240 - Standard Test Method for Rubber Property--Durometer Hardness 2015, with Editorial Revision (2017).

ASTM D412 - Standard Test Methods for Vulcanized Rubber and Thermoplastic Elastomers--Tension 2016.

ASTM E119 - Standard Test Methods for Fire Tests of Building Construction and Materials 2020.

SCAQMD 1168 - Adhesive and Sealant Applications 1989 (Amended 2017).

SWRI (VAL) - SWR Institute Validated Products Directory Current Edition.

UL 263 - Standard for Fire Tests of Building Construction and Materials Current Edition, Including All Revisions.

SUBMITTALS

Product Data for Sealants:  Submit manufacturer's technical data sheets for each product to be used, that includes the following.

Physical characteristics, including movement capability, VOC content, hardness, cure time, and color availability.

List of backing materials approved for use with the specific product.

Substrates that product is known to satisfactorily adhere to and with which it is compatible.

Substrates the product should not be used on.

Sustainable Design Documentation:  For sealants and primers, submit VOC content and emissions documentation as specified in Section 016116.

Preconstruction Laboratory Test Reports:  Submit at least four weeks prior to start of installation.

QUALITY ASSURANCE

Maintain one copy of each referenced document covering installation requirements on site.

Manufacturer Qualifications:  Company specializing in manufacturing the products specified in this section with minimum three years documented experience.

Preconstruction Laboratory Testing:  Arrange for sealant manufacturer(s) to test each combination of sealant, substrate, backing, and accessories.

Adhesion Testing:  In accordance with ASTM C794.

Compatibility Testing:  In accordance with ASTM C1087.

Allow sufficient time for testing to avoid delaying the work.

Deliver to manufacturer sufficient samples for testing.

Report manufacturer's recommended corrective measures, if any, including primers or techniques not indicated in product data submittals.

Testing is not required if sealant manufacturer provides data showing previous testing, not older than 24 months, that shows satisfactory adhesion, lack of staining, and compatibility.

WARRANTY

Correct defective work within a five-year period after Date of Substantial Completion.

Warranty:  Include coverage for installed sealants and accessories that fail to achieve watertight seal, exhibit loss of adhesion or cohesion, or do not cure.

PART 2  PRODUCTS

MANUFACTURERS

Non-Sag Sealants:  Permits application in joints on vertical surfaces without sagging or slumping.

Pittsburgh Paints; Top Gun Sealants, www.pittsburghpaintsco.com

JOINT SEALANT APPLICATIONS

Scope:

Exterior Joints:  Seal open joints, whether the joint is indicated on drawings, unless specifically indicated not to be sealed. Exterior joints to be sealed include, but are not limited to, the following items.

Wall expansion and control joints.

Joints between door, window, and other frames and adjacent construction.

Joints between different exposed materials.

Openings below ledge angles in masonry.

Other joints indicated below.

Interior Joints:  Do not seal interior joints unless specifically indicated to be sealed. Interior joints to be sealed include, but are not limited to, the following items.

Joints between door, window, and other frames and adjacent construction.

Other joints indicated below.

Do not seal the following types of joints.

Intentional weepholes in masonry.

Joints indicated to be treated with manufactured expansion joint cover or some other type of sealing device.

Joints where sealant is specified to be provided by manufacturer of product to be sealed.

Joints where installation of sealant is specified in another section.

Joints between suspended panel ceilings/grid and walls.

Exterior Joints:  Use non-sag non-staining silicone sealant, unless otherwise indicated.

Interior Joints:  Use non-sag polyurethane sealant, unless otherwise indicated.

Wall and Ceiling Joints in Non-Wet Areas:  Acrylic emulsion latex sealant.

In Sound-Rated Assemblies:  Acrylic emulsion latex sealant.

Sound-Rated Assemblies:  Walls and ceilings identified as "STC-rated", "sound-rated", or "acoustical".

JOINT SEALANTS - GENERAL

Sealants and Primers:  Provide products with levels of volatile organic compound (VOC) content as indicated in Section 016116.

Sealants and Primers:  Provide products having lower volatile organic compound (VOC) content than indicated in SCAQMD 1168.

Colors:  As indicated on drawings.

NONSAG JOINT SEALANTS

Silicone Sealant:  ASTM C920, Grade NS, Uses M and A; not expected to withstand continuous water immersion or traffic.

Movement Capability: Exceeds +/- 25%, minimum.

Hardness Range:  15 to 35, Shore A, when tested in accordance with ASTM C661.

Service Temperature Range:  -65°F to 180°F (-54°C to 82°C).

Manufacturers:

Pittsburgh Paints; Top Gun 350, 100% Silicone All Purpose Sealant, 1419 Series.

Mildew-Resistant Silicone Sealant:  ASTM C920, Grade NS, Uses M and A; single component, mildew resistant; not expected to withstand continuous water immersion or traffic.

Color: ​Clear​.

Manufacturers:

Pittsburgh Paints; Top Gun 350, 100% Silicone All Purpose Sealant, 1419 Series.

Polymer Sealant:  ASTM C920; single component, cured sealant is paintable and mold/mildew resistant, low odor and VOC, and ultraviolet (UV) resistant.

Color:  White.

Manufacturers:

Pittsburgh Paints; Top Gun 400 Elastomeric Acrylic Urethane Sealant, 1418 Series.

Hybrid Urethane Sealant:  ASTM C920, Grade NS, Uses M and A; single component; not expected to withstand continuous water immersion or traffic.

Movement Capability: ​ Exceeds +/- 25%, minimum.

Hardness Range:  20 to 40, Shore A, when tested in accordance with ASTM C661.

Color:  To be selected by Architect from manufacturer's standard range.

Service Temperature Range:  -40°F to 180°F (-40°C to 82°C).

Manufacturers:

Pittsburgh Paints; Top Gun 400 Elastomeric Acrylic Urethane Sealant, 1418 Series.

Polyurethane Sealant:  ASTM C920, Grade NS, Uses M and A; single or multi-component; not expected to withstand continuous water immersion or traffic.

Movement Capability: Exceeds +/- 12.5%, minimum.

Hardness Range:  20 to 35, Shore A, when tested in accordance with ASTM C661.

Color:  To be selected by Architect from manufacturer's standard range.

Service Temperature Range:   -40°F to 180°F (-40°C to 82°C).

Manufacturers:

Pittsburgh Paints; Top Gun 400 Elastomeric Acrylic Urethane Sealant, 1418 Series.

Acrylic-Urethane Sealant:  ASTM C920, Grade NS, Uses M and A; single component; paintable; not expected to withstand continuous water immersion or traffic.

Movement Capability: Exceeds +/- 12.5%, minimum.

Hardness Range:  15 to 40, Shore A, when tested in accordance with ASTM C661.

Service Temperature Range:  -40°F to 180°F (-40°C to 82°C).

Manufacturers:

Pittsburgh Paints; Top Gun 400 Elastomeric Acrylic Urethane Sealant, 1418 Series.

Pittsburgh Paints; Top Gun FLEX Urethanized Acrylic Sealant, 1420.

Acrylic Elastomeric Sealant: ASTM C920, Grade NS, Uses M and A; single component; paintable; not expected to withstand continuous water immersion or traffic.

Movement Capability: ​ Exceeds +/- 12.5%, minimum.

Hardness Range: ​15 to 40​, Shore A, when tested in accordance with ASTM C661.

Service Temperature Range: -40°F to 180°F (-40°C to 82°C)​.

Manufacturers:

Pittsburgh Paints; Top Gun 300Xi Elastomeric Acrylic Sealant, 1416.

Acrylic Emulsion Latex:  Water-based; ASTM C834, single component, non-staining, non-bleeding, non-sagging; not intended for exterior use.

Color:  To be selected by Architect from manufacturer's standard range.

Grade:  ASTM C834; Grade -18°C (0°F).

Manufacturers:

Pittsburgh Paints; Top Gun 200Xi Siliconized Acrylic Sealant, 1414X Series.

Pittsburgh Paints; Top Gun 210X Elastomeric Siliconized Acrylic Sealant, 1412.

Pittsburgh Paints; Top Gun 250Xi Modified Acrylic Sealant, 1415.

Pittsburgh Paints; Top Gun 300Xi Elastomeric Acrylic Sealant, 1416.

Acrylic Latex Sealant:  ASTM C834; for use as acoustical sealant and in firestopping systems for expansion joints and through penetrations.

Fire Rated System:  Complies with UL 263 and ASTM E119 with UL fire resistance classifications.

PART 3  EXECUTION

INSTALLATION

Perform work in accordance with sealant manufacturer's requirements for preparation of surfaces and material installation instructions.

Perform installation in accordance with ASTM C1193.

Install bond breaker backing tape where backer rod cannot be used.

Install sealant free of air pockets, foreign embedded matter, ridges, and sags, and without getting sealant on adjacent surfaces.

Do not install sealant when ambient temperature is outside manufacturer's recommended temperature range, or will be outside that range during the entire curing period, unless manufacturer's approval is obtained and instructions are followed.

Non-sag Sealants:  Tool surface concave, unless otherwise indicated; remove masking tape immediately after tooling sealant surface.

- END OF SECTION