Copyright 2024 by The American Institute of Architects (AIA)

Exclusively published and distributed by Deltek, Inc. for the AIA

This Product MasterSpec Section is licensed by Deltek, Inc. to The Pittsburgh Paints Company (formerly PPG Paints) ("Licensee"). The Pittsburgh Paints Company is the exclusive distributor of PPG Protective and Marine Coatings products.

This Product MasterSpec Section modifies the original MasterSpec text and does not include the full content of the original MasterSpec Section.

Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, Deltek or The American Institute of Architects (AIA). Neither AIA nor Deltek are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user. A qualified design professional should review and edit the document to suit project requirements.

For more information, contact The Pittsburgh Paints Company, 400 Bertha Lamme Dr., Cranberry Township, PA 16066; Phone: (888) PPG-IDEA | (888) 774-4332, Option 4; Website: www.pittsburghpaints.com; Email: ppgspec@ppg.com.

For information about MasterSpec, contact Deltek at (800) 424-5080 or visit masterspec.com.

SECTION 099601 - HIGH-PERFORMANCE COATINGS (MPI STANDARDS)

Access Manufacturer's Specpoint Product Cards:

<Double click here to view the manufacturer's product cards available at Deltek Specpoint>

MasterSpec includes provisions for LEED v4, LEED v4.1, IgCC/ASHRAE 189.1, Green Globes, and CALGreen.

- GENERAL

SUMMARY

Section Includes: Surface preparation of substrates and application of the following:

High-performance coating systems.

Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

Primers in other Sections must be coordinated for compatibility with finish coats specified in this Section. Review other Sections for shop-primed exterior products and insert references to this Section to establish primer requirements.

[Section 051200 "Structural Steel Framing"] [Section 051213 "Architecturally Exposed Structural Steel Framing"] for shop priming structural steel substrates with primers specified in this Section.

Section 055213 "Pipe and Tube Railings" for shop [priming] [painting] pipe and tube railings with coatings specified in this Section.

Section 099114 "Exterior Painting (MPI Standards)" for general field painting.

Section 099124 "Interior Painting (MPI Standards)" for general field painting.

DEFINITIONS

Definitions of MPI Gloss Levels below are from "MPI Architectural Painting Specification Manual" (hereafter, "MPI Manual").

MPI Gloss Level G5: Between 35 to 70 units at 60 degrees, in accordance with ASTM D523.

MPI Gloss Level G6: Between 70 to 85 units at 60 degrees, in accordance with ASTM D523.

MPI Gloss Level G7: More than 85 units at 60 degrees, in accordance with ASTM D523.

ACTION SUBMITTALS

Action submittals are submittals requiring responsive action and return of reviewed documents to Contractor.

Product Data: For each type of product.

See "Writing Guide" Article in the Evaluations for discussion of first subparagraph below.

Include printout of current "MPI Approved Products List" for each product category specified, with the proposed product highlighted.

Include preparation requirements and application instructions.

Indicate VOC content.

Retain "Samples" Paragraph below for single-stage Samples, with a subordinate list if applicable. Retain "Samples for Initial Selection" and "Samples for Verification" paragraphs for two-stage Samples. Delete "Samples" and "Samples for Initial Selection" paragraphs if colors and other characteristics are preselected and specified or scheduled and only verification Samples are required.

Samples: For each type of topcoat product.

Samples for Initial Selection: For each type of topcoat product.

Samples for Verification: For each type of coating system and each color and gloss of topcoat. Submit [actual paint drawdowns as specified below] [paint manufacturer's standard printed cards] for verification Samples.

Retain subparagraphs below only if retaining first option in "Samples for Verification" Paragraph above for actual paint drawdowns for verification Samples. Color and gloss of Samples change as they age; seven-day old Samples appear different from freshly dried Samples.

Submit Samples on actual substrate material to be coated, 8 inches (200 mm) square.

Apply coats on Samples in steps to show each coat required for system.

Label each coat of each Sample.

Label each Sample for location and application area.

Product List: Cross-reference to coating system and locations of application areas. Use same designations indicated on Drawings and in High-Performance Coating Schedules. Include color designations and product runs (batch numbers).

Retain "Sustainable Design Submittals" Paragraph below if required to attain sustainability rating or to track sustainability submittals.

Sustainable Design Submittals:

"Product Data" Subparagraph below applies to LEED v4, LEED v4.1, IgCC/ASHRAE 189.1, Green Globes, and CALGreen. Coordinate with requirements for paints and coatings.

Product Data: For paints and coatings, indicating VOC content.

"Environmental Product Declaration (EPD)" Subparagraph below applies to LEED v4 (all) MR Credit "Building Product Disclosure and Optimization - Environmental Product Declarations." Verify, with manufacturer, that EPDs are available for each product.

Environmental Product Declaration (EPD): For each product.

"Health Product Declaration (HPD)" Subparagraph below applies to LEED v4 (all) MR Credit "Building Product Disclosure and Optimization - Material Ingredients," Option 1 - "Material Ingredient Reporting." Verify, with manufacturer, that HPDs are available and comply with requirements of the HPD Open Standard or USGBC-approved program.

Health Product Declaration (HPD): For each product.

"Sourcing of Raw Materials" Subparagraph below applies to LEED v4 (all) MR Credit "Building Project Disclosure and Optimization - Sourcing of Raw Materials," Option 1 - "Raw Material Source and Extraction Reporting." Verify, with manufacturer, that corporate sustainability reports are available, have been prepared within the last year or are applicable to the year of production, and are by USGBC-approved organization.

Sourcing of Raw Materials: Corporate sustainability report for each manufacturer.

"Environmental Product Declaration (EPD)" Subparagraph below applies to LEED v4.1 (all) MR Credit "Building Product Disclosure and Optimization - Environmental Product Declarations." Verify, with manufacturer, that EPDs are available for each product.

Environmental Product Declaration (EPD): For each product.

"Health Product Declaration (HPD)" Subparagraph below applies to LEED v4.1 (all) MR Credit "Building Product Disclosure and Optimization - Material Ingredients," Option 1 - "Material Ingredient Reporting." Verify, with manufacturer, that HPDs are available and comply with requirements of the HPD Open Standard or USGBC-approved program.

Health Product Declaration (HPD): For each product.

"Sourcing of Raw Materials" Subparagraph below applies to LEED v4.1 (all) MR Credit "Building Project Disclosure and Optimization - Sourcing of Raw Materials," Option 1 - "Raw Material Source and Extraction Reporting." Verify, with manufacturer, that corporate sustainability reports are available, have been prepared within the last year or are applicable to the year of production, and are by USGBC-approved organization.

Sourcing of Raw Materials: Corporate sustainability report for each manufacturer.

Retain "Environmental Product Declaration (EPD)" Subparagraph below if products specified in this Section are required to have an EPD to comply with IgCC/ASHRAE 189.1's requirement of 55 percent recycled materials.

Environmental Product Declaration (EPD): For each product.

"Environmental Product Declaration (EPD)" Subparagraph below applies to IgCC/ASHRAE 189.1 if products specified in this Section are used to comply with requirements of paragraph 9.4.1.4, "Multiple-Attribute Product Declaration or Certification," which require EPDs for a minimum of 10 products.

Environmental Product Declaration (EPD): For each product.

"Environmental Product Declaration (EPD)," "Third-Party Certifications," and "Third-Party Certified Life-Cycle Assessment" subparagraphs below apply to Green Globes v1.4 if products specified in this Section are used to comply with requirements of paragraph 3.5.1.2, "Path B: Prescriptive Path for Building Core and Shell," which require that a certain percentage of materials used in the core and shell have EPDs, third-party certifications, and/or third-party life-cycle assessments.

Environmental Product Declaration (EPD): For each product.

Third-Party Certifications: For each product.

Third-Party-Certified Life-Cycle Assessment: For each product.

MAINTENANCE MATERIAL SUBMITTALS

See Section 017700 "Closeout Procedures" for submission of maintenance material items.

Extra Stock Material: Furnish extra materials[, from the same production run (batch number),] to Owner that match coating system products applied and that are packaged with protective covering for storage and identified with labels describing contents.

If necessary, replace percentage in "Coatings" Subparagraph below with a specific number of gallons (liters) or cases and include an expanded description of the quantity of each material and color.

Coatings: [5] <Insert number> percent, but not less than [1 gal. (3.8 L)] <Insert number> of each material and color applied.

MOCKUPS

Apply mockups of each coating system indicated and each color and finish selected to verify selections made under Sample submittals, to demonstrate aesthetic effects, and to set quality standards for materials and execution.

Architect will select one surface to represent surfaces and conditions for application of each coating system.

Wall and Ceiling Surfaces: Provide samples of at least 100 sq. ft. (9 sq. m).

Other Items: Architect will designate items or areas required.

Final approval of color selections will be based on mockups.

If preliminary color selections are not approved, apply additional mockups of additional colors selected by Architect at no added cost to Owner.

Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Owner specifically approves such deviations by Change Order.

Retain subparagraph below if the intention is to make an exception to the default requirement in Section 014000 "Quality Requirements" for demolishing and removing mockups.

Subject to compliance with requirements, approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

DELIVERY, STORAGE, AND HANDLING

If necessary, insert special requirements for fire protection, heating, ventilation, and other conditions for storage areas on-site.

Store materials not in use in tightly covered containers in well-ventilated areas with ambient temperatures continuously maintained at not less than 45 deg F (7 deg C).

Maintain containers in clean condition, free of foreign materials and residue.

Remove rags and waste from storage areas daily.

FIELD CONDITIONS

Some manufacturers' products may require higher temperatures for proper curing. Consult manufacturers and revise first paragraph below to suit requirements for specific products if necessary.

Apply coatings only when temperature of surfaces to be coated and ambient air temperatures are between 50 and 95 deg F (10 and 35 deg C).

Do not apply coatings when relative humidity exceeds 85 percent; at temperatures less than 5 deg F (3 deg C) above the dew point; or to damp or wet surfaces.

Do not apply exterior coatings in snow, rain, fog, or mist.

PRODUCTS

Manufacturers and products listed in this Section are neither recommended nor endorsed by the AIA or Deltek. Before selecting manufacturers and products, verify availability, suitability for intended applications, and compliance with minimum performance requirements. Product options commonly available from manufacturers are included in square brackets throughout the Section Text. Not every manufacturer listed can provide every option offered; verify availability with manufacturers. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

Retain "Source Limitations" Article below to limit sources for the entire Section. Source limitations may also be specified in individual articles if desired.

SOURCE LIMITATIONS

Obtain each coating system product from single source from single manufacturer.

HIGH-PERFORMANCE COATINGS, GENERAL

Retain "High-Performance Coating Systems" Paragraph below and include list of manufacturers if desired, in addition to MPI standards indicated and listed below.

See lists of products currently approved by MPI in its "MPI Approved Products Lists." See the "Writing Guide" Article in the Evaluations for further discussion.

High-Performance Coating Systems: Subject to compliance with requirements, [provide product] [provide one of the products] [available products that may be incorporated into the Work include but are not limited to products] listed in the High-Performance Coating Schedules for the coating category indicated.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

Basis-of-Design Product: Subject to compliance with requirements, provide Pittsburgh Paints; products as designated in the Exterior High-Performance Coating Schedule or the Interior High-Performance Coating Schedule for the coating category indicated or comparable product by one of the following:

Corotech Coatings; Benjamin Moore & Co.

Rust-Oleum Corporation.

Sherwin-Williams Company (The).

Tnemec Company, Inc.

<Insert manufacturer's name>.

MPI Standards: Provide products complying with MPI standards indicated in the High-Performance Coating Schedules for the coating category indicated and listed in the "MPI Approved Products Lists."

Generally, retain "Material Compatibility" Paragraph below. Systems could fail if paints used for individual coats are incompatible. MPI's systems match primers and topcoats and take compatibility into consideration.

Material Compatibility:

Materials for use within each coating system must be compatible with one another and substrates indicated, under conditions of service and application as demonstrated by manufacturer, based on testing and field experience.

For each coat in a system, products must be recommended in writing by topcoat manufacturers for use in paint system and on substrate indicated.

"VOC Content" and "Low-Emitting Materials" paragraphs below apply to LEED v4 and LEED v4.1 EQ Credit "Low-Emitting Materials." Delete option in "VOC Content" Paragraph for LEED v4.1 for Schools and LEED v4.1 for Healthcare credit for exterior-applied products.

VOC Content: For field applications[ that are inside the weatherproofing system], verify paints and coatings comply with VOC content limits of authorities having jurisdiction and the following VOC content limits:

Categories in subparagraphs below are taken from LEED rating systems and the standards referenced by them; if clarification is required, see those documents or the reference guides.

For interior applications, LEED v4.1 compliance, 100 percent of interior applied paint and coatings products must comply with VOC content evaluation. Paint and coatings wet-applied on-site must comply with applicable VOC limits of the California Air Resources Board (CARB) 2007, Suggested Control Measure (SCM) for Architectural Coatings, or the South Coast Air Quality Management District (SCAQMD) Rule 1113, effective February 5, 2016. Both CARB 2007 SCM and SCAQMD Rule 1113 are cited in LEED v4.1, EQc "Low Emitting Materials." Choose one wet-applied VOC content limit compliance path below, either CARB or SCAQMD.

Retain one of two VOC content rules below:

For CARB 2020 SCM, see https://ww2.arb.ca.gov/our-work/programs/coatings/architectural-coatings/suggested-control-measure.

For SCAQMD Rule 1113 (more restrictive), see latest updated version amended February 5, 2016, at www.aqmd.gov/docs/default-source/rule-book/reg-xi/r1113.pdf.

High-performance coatings products in this Section comply with VOC content cutoff limits of LEED v4.1 using CARB 2007 SCM for "Industrial Maintenance Coatings (250 g/L or less)" and "Zinc Rich Primers, (340 g/L or less)."

Flat Paints and Coatings: 50 g/L.

Retain first option in "Nonflat Paints and Coatings" Subparagraph below for SCAQMD; second, for CARB.

Nonflat Paints and Coatings: [50] [100] g/L.

Retain first option in "Nonflat Paints and Coatings (High Gloss)" Subparagraph below for SCAQMD; second, for CARB.

Nonflat Paints and Coatings (High Gloss): [50] [150] g/L.

Retain first option in "Floor Coatings" Subparagraph below for SCAQMD; second, for CARB.

Floor Coatings: [50] [100] g/L.

Retain first option in "Industrial Maintenance Coatings" Subparagraph below for SCAQMD; second, for CARB.

Industrial Maintenance Coatings: [100] [250] g/L.

Primers, Sealers, and Undercoaters: 100 g/L.

Retain first option in "Rust-Preventive Coatings" Subparagraph below for SCAQMD; second, for CARB.

Rust-Preventive Coatings: [100] [250] g/L.

Pretreatment Wash Primers: 420 g/L.

Retain first option in "Zinc-Rich Industrial Maintenance Primers" Subparagraph below for SCAQMD; second for CARB.

Zinc-Rich Industrial Maintenance Primers: [100] [340] g/L.

Consult a Pittsburgh Paints Architectural Representative or Pittsburgh Paints Technical Service about the compliance of individual products. Emissions testing certificates in accordance with LEED v4.1 may be found through publicly available sites such as those posted to UL SPOT (Greenguard Gold) or SCS Indoor Advantage Gold as well as the Pittsburgh Paints website; see www.ppgpaints.com/leedv4.

A current shortage exists in the marketplace of two-component, solvent-borne, high-performance coatings product that carries emissions certification.

Low-Emitting Materials: For field applications that are inside the weatherproofing system, verify 70 percent of paints and coatings by volume or surface area comply with requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers" using CDPH Standard Method v1.2-2017.

"Material Emissions and Pollutant Control" Paragraph below applies to IgCC/ASHRAE 189.1.

Material Emissions and Pollutant Control: Verify not less than 85 percent of field-applied paints and coatings that are inside the weatherproofing system comply with either of the following:

Low-Emitting Materials: Verify VOC emissions comply with requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers." Verify formaldehyde emissions do not exceed 9 mcg/cu. m or 7 ppb, whichever is less.

Verify VOC content does not exceed limits of authorities having jurisdiction and the following:

Flat Coatings: 50 g/L.

Nonflat Coatings: 100 g/L.

Nonflat - High-Gloss Coatings: 150 g/L.

Concrete/Masonry Sealers: 100 g/L.

Floor Coatings: 100 g/L.

Industrial Maintenance Coatings: 250 g/L.

Low-Solids Coatings: 120 g/L.

Mastic Texture Coatings: 100 g/L.

Metallic Pigmented Coatings: 500 g/L.

Pretreatment Wash Primers: 420 g/L.

Primers, Sealers, and Undercoaters: 100 g/L.

Reactive Penetrating Sealers: 350 g/L.

Recycled Coatings: 250 g/L.

Rust-Preventive Coatings: 250 g/L.

"VOC Emissions" Paragraph below applies to Green Globes.

VOC Emissions: For field applications inside the building, wall paints to contain no more than half of the chronic REL of VOCs when tested in accordance with the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers." The building concentration of formaldehyde will not exceed half of the indoor recommended exposure limit or 33 mcg/cu. m and that of acetaldehyde will not exceed 9 mcg/cu. m.

Color selection is often limited because some coating materials yellow or degrade under some environmental conditions.

Colors: [As selected by Architect from manufacturer's full range] [Match Architect's samples] [As indicated in color schedule on Drawings] <Insert requirements>.

Retain "Source Quality Control" Article below for large projects or critical coatings where additional control is desired. Delete if tests are not required.

SOURCE QUALITY CONTROL

Testing of Coating Materials: Owner reserves the right to invoke the following procedure:

Owner will engage the services of a qualified testing agency to sample coating materials. Contractor will be notified in advance and may be present when samples are taken. If coating materials have already been delivered to Project site, samples may be taken at Project site. Samples will be identified, sealed, and certified by testing agency.

Testing agency will perform tests for compliance with product requirements.

Owner may direct Contractor to stop applying coatings if test results show materials being used do not comply with product requirements. Contractor will remove noncomplying coating materials from Project site, pay for testing, and recoat surfaces coated with rejected materials. Contractor will be required to remove rejected materials from previously coated surfaces if, on recoating with complying materials, the two coatings are incompatible.

EXECUTION

EXAMINATION

Examine substrates and conditions, with Applicator present, for compliance with requirements for maximum moisture content and other conditions affecting performance of the Work.

Maximum Moisture Content of Substrates: When measured with an electronic moisture meter as follows:

Percentages in subparagraphs below are based on MPI recommendations.

Concrete: 12 percent.

Cementitious Composition Board: 12 percent.

Masonry (Clay and CMUs): 12 percent.

Wood: 15 percent.

Portland Cement Plaster (Stucco): 12 percent. Verify that plaster is fully cured.

Gypsum Board: 12 percent. Verify that finishing compound is dry and sanded smooth.

Verify suitability of substrates, including surface conditions and compatibility, with finishes and primers. Proceed with coating application only after unsatisfactory conditions have been corrected.

Application of coating indicates acceptance of surfaces and conditions.

PREPARATION

For renovation and maintenance projects, consult "MPI Maintenance Repainting Manual" and revise first paragraph below and coating systems specified in High-Performance Coating Schedules.

Comply with manufacturer's written instructions and recommendations in "MPI Architectural Painting Specification Manual" applicable to substrates and coating systems indicated.

Remove hardware, covers, plates, and similar items already in place that are removable and are not to be painted. If removal is impractical or impossible because of size or weight of item, provide surface-applied protection before surface preparation and painting.

After completing coating operations, use workers skilled in the trades involved to reinstall items that were removed. Remove surface-applied protection.

Clean substrates of substances that could impair bond of coatings, including dust, dirt, oil, grease, and incompatible paints and encapsulants.

Coordination of shop-applied prime coats with high-performance coatings is critical.

Remove incompatible primers and reprime substrate with compatible primers or apply tie coat as required to produce coating systems indicated.

Concrete Substrates: Remove release agents, curing compounds, efflorescence, and chalk. Do not coat surfaces if moisture content or alkalinity of surfaces to be coated exceeds that permitted in manufacturer's written instructions.

If applicable, retain one of two subparagraphs below or, if necessary, insert acid etching of concrete surfaces.

Clean surfaces with pressurized water. Use pressure range of [1500 to 4000 psi (10 350 to 27 580 kPa)] [4000 to 10,000 psi (27 580 to 68 950 kPa)] at 6 to 12 inches (150 to 300 mm).

Abrasive blast clean surfaces to comply with SSPC-SP 7/NACE No. 4.

Masonry Substrates: Remove efflorescence and chalk. Do not coat surfaces if moisture content, alkalinity of surfaces, or alkalinity of mortar joints exceeds that permitted in manufacturer's written instructions.

Retain subparagraph below or, if necessary, insert acid etching of clay masonry substrates.

Clean surfaces with pressurized water. Use pressure range of [100 to 600 psi (690 to 4140 kPa)] [600 to 1500 psi (4140 to 10 350 kPa)] [1500 to 4000 psi (10 350 to 27 580 kPa)] at 6 to 12 inches (150 to 300 mm).

Retain "Steel Substrates" Paragraph below if steel is not shop primed or if shop primer is removed in the field.

Steel Substrates: Remove loose rust, loose mill scale, loose shop primer, and other loose foreign matter. Clean using methods recommended in writing by coating manufacturer[.][ but not less than the following:]

SSPC-SP 7/NACE No. 4, "Brush-Off Blast Cleaning," permits tight residues of rust, mill scale, and coatings to remain. "Commercial Blast Cleaning" methods specified in SSPC-SP 6/NACE No. 3 may be impractical for use at Project site or allowed by authorities having jurisdiction.

SSPC-SP 7/NACE No. 4.

SSPC-SP 11 requires complete removal of rust, mill scale, and paint by power tools. SSPC-SP 11 uses nonabrasive methods and bridges the gap between the marginal cleaning required in SSPC-SP 7/NACE No. 4 and the more thorough cleaning required in SSPC-SP 6/NACE No. 3, SSPC-SP 10/NACE No. 2, and SSPC-SP 5/NACE No. 1.

SSPC-SP 11.

SSPC-SP 6/NACE No. 3 is recommended by MPI as the minimum preparation for high-performance coatings and requires that two-thirds of surface area be free of visible residue.

SSPC-SP 6/NACE No. 3.

SSPC-SP 10/NACE No. 2 requires that 95 percent of surface area be free of visible residue.

SSPC-SP 10/NACE No. 2.

SSPC-SP 5/NACE No. 1 removes visible rust, mill scale, paint, and foreign matter.

SSPC-SP 5/NACE No. 1.

Retain "Shop-Primed Steel Substrates" Paragraph below if primers are shop applied and are not removed in the field.

Shop-Primed Steel Substrates: Clean field welds, bolted connections, and areas where shop paint is abraded. Paint exposed areas with the same material as used for shop priming to comply with SSPC-PA 1 for touching up shop-primed surfaces.

Galvanized metal substrates should not be chromate passivated if primers are field applied. If galvanized metal is chromate passivated, consult manufacturers for appropriate surface preparation and primers.

Galvanized Metal Substrates: Remove grease and oil residue from galvanized metal by mechanical methods to produce clean, lightly etched surfaces that promote adhesion of subsequently applied coatings.

If necessary, insert requirements for acid etching aluminum.

Aluminum Substrates: Remove loose surface oxidation.

Wood Substrates:

Scrape and clean knots. Before applying primer, apply coat of knot sealer that is recommended in writing by topcoat manufacturer for coating system indicated.

Sand surfaces that will be exposed to view and dust off.

Prime edges, ends, faces, undersides, and backsides of wood.

After priming, fill holes and imperfections in the finish surfaces with filler that is recommended in writing by topcoat manufacturer for coating system indicated. Sand smooth when dried.

APPLICATION OF HIGH-PERFORMANCE COATING SYSTEMS

Apply high-performance coating system products in accordance with manufacturer's written instructions and recommendations in "MPI Architectural Painting Specification Manual."

If Project requires restricted application method (e.g., using only spray or rollers), revise first subparagraph below accordingly.

Use applicators and techniques suited for coating and substrate indicated.

Coat surfaces behind movable equipment and furniture same as similar exposed surfaces. Before final installation, coat surfaces behind permanently fixed equipment or furniture with prime coat only.

Coat backsides of access panels, removable or hinged covers, and similar hinged items to match exposed surfaces.

Do not apply coatings over labels of independent testing agencies or equipment name, identification, performance rating, or nomenclature plates.

If tinting is not required, delete first paragraph below. Different tints will show through as topcoat erodes.

Tint each undercoat a lighter shade to facilitate identification of each coat if multiple coats of the same material are to be applied. Tint undercoats to match color of finish coat but provide sufficient difference in shade of undercoats to distinguish each separate coat.

If undercoats or other conditions show through final coat, apply additional coats until cured film has a uniform coating finish, color, and appearance.

Apply coatings to produce surface films without cloudiness, spotting, holidays, laps, brush marks, runs, sags, ropiness, or other surface imperfections. Produce sharp glass lines and color breaks.

FIELD QUALITY CONTROL

Dry Film Thickness Testing: Owner may engage the services of a qualified testing and inspecting agency to inspect and test coatings for dry film thickness.

Touch up and restore coated surfaces damaged by testing.

If test results show that dry film thickness of applied coating does not comply with coating manufacturer's written recommendations, apply additional coats as needed to provide dry film thickness that complies with coating manufacturer's written recommendations.

Cost of retesting is Contractor's responsibility.

CLEANING AND PROTECTION

After completing coating application, clean spattered surfaces. Remove spattered coatings by washing, scraping, or other methods. Do not scratch or damage adjacent finished surfaces.

Protect work of other trades against damage from coating operation. Correct damage to work of other trades by cleaning, repairing, replacing, and recoating, as approved by Architect, and leave in an undamaged condition.

At completion of construction activities of other trades, touch up and restore damaged or defaced coated surfaces.

EXTERIOR HIGH-PERFORMANCE COATING SCHEDULE, CONCRETE SUBSTRATES

Coating systems in this article are based on "MPI Architectural Painting Specification Manual" for new construction. For renovation and maintenance projects where repainting is required, consult "MPI Maintenance Repainting Manual" and revise coating systems accordingly.

If necessary, insert drawing designations. Use these designations on Drawings to identify locations of each paint system.

Vertical (Nontraffic) Surfaces:

Epoxy System: MPI EXT 3.1D.

Prime Coat: Epoxy, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Epoxy-Modified Latex System.

Prime Coat: Epoxy-modified latex, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy-modified latex, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy-modified latex, semigloss (MPI Gloss Level G5), MPI #215.

Pittsburgh Paints; Aquapon WB EP Water-Borne Semi-Gloss Epoxy, 98E-1/98E-100 Series; applied at 2.0 to 4.0 mils DFT.

Topcoat: Epoxy-modified latex, gloss (MPI Gloss Level G6), MPI #115.

Pittsburgh Paints; Aquapon WB EP Water-Borne Gloss Epoxy, 98E-1/98E-98 Series; applied at 2.0 to 4.0 mils DFT

Pigmented Polyurethane over Epoxy System: MPI EXT 3.1M.

Prime Coat: Epoxy, matching intermediate coat.

Retain one of two "Intermediate Coat" subparagraphs below for desired gloss level.

Intermediate Coat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Horizontal (Traffic) Surfaces:

Epoxy Non-Slip Deck Coating System: MPI EXT 3.2C.

"MPI Manual" states that application procedures and products used in this system vary; therefore, it relies on manufacturers' written recommendations for primers and number of coats for a Premium Grade system and does not include a Budget Grade system.

Prime Coat: As recommended in writing by topcoat manufacturer.

Intermediate Coat: As recommended in writing by topcoat manufacturer.

Topcoat: Epoxy deck coating (slip resistant), MPI #82.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy + NSA; applied at 4.0 to 8.0 mils DFT] [600 Series High Solids Epoxy + NSA; applied at 5.0 to 10.0 mils DFT].

Polyurethane Non-Slip Deck Coating System.

"MPI Manual" states that application procedures and products used in this system vary; therefore, it relies on manufacturers' written recommendations for primers and number of coats for a Premium Grade system and does not include a Budget Grade system.

Prime Coat: As recommended in writing by topcoat manufacturer.

Intermediate Coat: As recommended in writing by topcoat manufacturer.

Topcoat: Polyurethane deck coating (slip resistant), MPI #83.

Pittsburgh Paints; Pitthane [Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series + NSA; applied at 2.0 to 5.0 mils DFT] [Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series + NSA; applied at 2.0 to 3.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series + NSA; applied at 2.0 to 4.0 mils DFT].

EXTERIOR HIGH-PERFORMANCE COATING SCHEDULE, CEMENTITIOUS SUBSTRATES

Coating systems in this article are based on "MPI Architectural Painting Specification Manual" for new construction. For renovation and maintenance projects where repainting is required, consult "MPI Maintenance Repainting Manual" and revise coating systems accordingly.

If necessary, insert drawing designations. Use these designations on Drawings to identify locations of each paint system.

Cementitious Composition Board Substrates: [Siding] [Trim] [Panels] <Insert requirements>.

Epoxy-Modified Latex System: MPI EXT 3.3D.

Prime Coat: Epoxy-modified latex, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy-modified latex, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy-modified latex, semigloss (MPI Gloss Level G5), MPI #215.

Pittsburgh Paints; Aquapon WB EP Water-Borne Semi-Gloss Epoxy, 98E-1/98E-100 Series; applied at 2.0 to 4.0 mils DFT.

Topcoat: Epoxy-modified latex, gloss (MPI Gloss Level G6), MPI #115.

Pittsburgh Paints; Aquapon WB EP Water-Borne Gloss Epoxy, 98E-1/98E-98 Series; applied at 2.0 to 4.0 mils DFT

Epoxy System: MPI EXT 3.3E.

Prime Coat: Epoxy, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Pigmented Polyurethane over Epoxy System: MPI EXT 3.3F.

Prime Coat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Prime Coat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching prime coat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Portland Cement Plaster (Stucco) Substrates:

Epoxy System: MPI EXT 9.1D.

Prime Coat: Epoxy, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

EXTERIOR HIGH-PERFORMANCE COATING SCHEDULE, MASONRY SUBSTRATES

Coating systems in this article are based on "MPI Architectural Painting Specification Manual" for new construction. For renovation and maintenance projects where repainting is required, consult "MPI Maintenance Repainting Manual" and revise coating systems accordingly.

If necessary, insert drawing designations. Use these designations on Drawings to identify locations of each paint system.

Clay Masonry Substrates:

MPI recommends epoxy system below for smooth brick.

Epoxy System: MPI EXT 4.1D.

Prime Coat: Epoxy, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Pigmented Polyurethane over Epoxy System: MPI EXT 4.1J.

Prime Coat: Epoxy, matching intermediate coat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system. Retain one of two "Intermediate Coat" subparagraphs below for desired gloss level.

Intermediate Coat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

CMU Substrates:

Epoxy System: MPI EXT 4.2E.

Block Filler: Block filler, epoxy, MPI #116.

PPG Protective and Marine Coatings; Amerlock 400 BF Epoxy Masonry Block Filler; applied at 10.0 to 20.0 mils DFT.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Pigmented Polyurethane over High-Build Epoxy System: MPI EXT 4.2G.

Block Filler: Block filler, epoxy, MPI #116.

PPG Protective and Marine Coatings; Amerlock 400 BF Epoxy Masonry Block Filler; applied at 10.0 to 20.0 mils DFT.

For a Premium Grade system, "MPI Manual" requires intermediate coat. Retain one of two "Intermediate Coat" subparagraphs below for desired gloss level.

Intermediate Coat: Epoxy, high-build, low gloss, MPI #108.

PPG Protective and Marine Coatings; Amerlock [400 High Solids Epoxy; applied at 4.0 to 8.0 mils DFT] [600 Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, high-build, gloss, MPI #98.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

EXTERIOR HIGH-PERFORMANCE COATING SCHEDULE, METAL SUBSTRATES

Coating systems in this article are based on "MPI Architectural Painting Specification Manual" for new construction. For renovation and maintenance projects where repainting is required, consult "MPI Maintenance Repainting Manual" and revise coating systems accordingly.

If necessary, insert drawing designations. Use these designations on Drawings to identify locations of each paint system.

Steel Substrates:

Epoxy System: MPI EXT 5.1F.

Prime Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, high build, low gloss, MPI #108.

PPG Protective and Marine Coatings; Amerlock [400 High Solids Epoxy; applied at 4.0 to 8.0 mils DFT] [600 Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, high-build, gloss, MPI #98.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Epoxy over Self-Priming Epoxy System: MPI EXT 5.1S.

Prime Coat: Epoxy, high build, self-priming, MPI #120.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Epoxy Deck Coating over Epoxy Primer and High-Build Epoxy System: MPI EXT 5.1V.

Prime Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat. Retain one of two "Intermediate Coat" subparagraphs below for desired gloss level.

Intermediate Coat: Epoxy, high-build, low gloss, MPI #108.

PPG Protective and Marine Coatings; Amerlock [400 High Solids Epoxy; applied at 4.0 to 8.0 mils DFT] [600 Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, high-build, gloss, MPI #98.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Topcoat: Epoxy deck coating, MPI #82.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy + NSA; applied at 4.0 to 8.0 mils DFT] [600 Series High Solids Epoxy + NSA; applied at 5.0 to 10.0 mils DFT].

Additive: Manufacturer's standard additive to increase skid resistance of coated surface.

Polyurethane Deck Coating over Epoxy Primer and High-Build Epoxy System.

Prime Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat. Retain one of two "Intermediate Coat" subparagraphs below for desired gloss level.

Intermediate Coat: Epoxy, high-build, low gloss, MPI #108.

PPG Protective and Marine Coatings; Amerlock [400 High Solids Epoxy; applied at 4.0 to 8.0 mils DFT] [600 Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, high-build, gloss, MPI #98.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Topcoat: Polyurethane deck coating (slip resistant), MPI #83.

Pittsburgh Paints; Pitthane [Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series + NSA; applied at 2.0 to 5.0 mils DFT] [Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series + NSA; applied at 2.0 to 3.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series + NSA; applied at 2.0 to 4.0 mils DFT].

Additive: Manufacturer's standard additive to increase skid resistance of coated surface.

Epoxy Deck Coating over Self-Priming Epoxy System: MPI EXT 5.1X.

Prime Coat: Epoxy, high build, self-priming, MPI #120.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Topcoat: Epoxy deck coating, MPI #82.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy + NSA; applied at 4.0 to 8.0 mils DFT] [600 Series High Solids Epoxy + NSA; applied at 5.0 to 10.0 mils DFT].

Additive: Manufacturer's standard additive to increase skid resistance of coated surface.

Polyurethane Deck Coating over Self-Priming Epoxy System.

Prime Coat: Epoxy, high build, self-priming, MPI #120.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Topcoat: Polyurethane deck coating (slip resistant), MPI #83.

Pittsburgh Paints; Pitthane [Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series + NSA; applied at 2.0 to 5.0 mils DFT] [Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series + NSA; applied at 2.0 to 3.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series + NSA; applied at 2.0 to 4.0 mils DFT].

Additive: Manufacturer's standard additive to increase skid resistance of coated surface.

Pigmented Polyurethane over Epoxy System: MPI EXT 5.1H.

Prime Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT

For a Premium Grade system, "MPI Manual" requires second topcoat. Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Two coats of pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Two coats of pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Pigmented Polyurethane over High-Build Epoxy System: MPI EXT 5.1J.

Prime Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat. Retain one of two "Intermediate Coat" subparagraphs below for desired gloss level.

Intermediate Coat: Epoxy, high-build, low gloss, MPI #108.

PPG Protective and Marine Coatings; Amerlock [400 High Solids Epoxy; applied at 4.0 to 8.0 mils DFT] [600 Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, high-build, gloss, MPI #98.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Pigmented Polyurethane over Self-Priming Epoxy System: MPI EXT 5.1T.

Prime Coat: Epoxy, high build, self-priming, MPI #120.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Polyurethane, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Pigmented Polyurethane over Epoxy Zinc-Rich Primer System: MPI EXT 5.1P.

Prime Coat: Primer, zinc rich, epoxy, MPI #20.

[PPG Protective and Marine Coatings; Amercoat 68 HS Zinc Rich Epoxy; applied at 2.0 to 5.0 mils DFT] [Pittsburgh Paints; Aquapon Zinc Rich Epoxy 97-670; applied at 3.0 to 5.0 mils DFT].

Intermediate Coat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Pigmented Polyurethane over Epoxy Zinc-Rich Primer and High-Build Epoxy System: MPI EXT 5.1G.

Prime Coat: Primer, zinc rich, epoxy, MPI #20.

[PPG Protective and Marine Coatings; Amercoat 68 HS Zinc Rich Epoxy; applied at 2.0 to 5.0 mils DFT] [Pittsburgh Paints; Aquapon Zinc Rich Epoxy 97-670; applied at 3.0 to 5.0 mils DFT].

Retain one of two "Intermediate Coat" subparagraphs below for desired gloss level.

Intermediate Coat: Epoxy, high-build, low gloss, MPI #108.

PPG Protective and Marine Coatings; Amerlock [400 High Solids Epoxy; applied at 4.0 to 8.0 mils DFT] [600 Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, high-build, gloss, MPI #98.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

For a Premium Grade system, "MPI Manual" requires second topcoat. Retain first or second "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Two coats of pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Pigmented Polyurethane over Inorganic Zinc-Rich Primer and High-Build Epoxy System: MPI EXT 5.1L.

Prime Coat: Primer, zinc rich, inorganic, MPI #19.

PPG Protective and Marine Coatings; [Dimetcote 9 two-component, moisture-curing zinc (ethyl) silicate, applied at 2.0 to 4.0 mils DFT] [Dimetcote 9H Inorganic Zinc Silicate Primer; applied at 2.0 to 5.0 mils DFT] [Metalhide One Pac one-component, inorganic zinc silicate primer, 97-676, applied at 3.0 to 4.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat. Retain one of two "Intermediate Coat" subparagraphs below for desired gloss level.

Intermediate Coat: Epoxy, high-build, low gloss, MPI #108.

PPG Protective and Marine Coatings; Amerlock [400 High Solids Epoxy; applied at 4.0 to 8.0 mils DFT] [600 Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, high-build, gloss, MPI #98.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Galvanized metal substrates should not be chromate passivated if primers are field applied. If galvanized metal is chromate passivated, consult manufacturers for appropriate surface preparation and primers.

Galvanized Metal Substrates:

Epoxy System: MPI EXT 5.3C.

Prime Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Pigmented Polyurethane over Epoxy Primer System: MPI EXT 5.3L.

Prime Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Polyurethane, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Pigmented Polyurethane over Vinyl Wash Primer and Epoxy Primer System: MPI EXT 5.3D.

Note that vinyl wash primer has a high VOC content and may not be available in some localities.

Prime Coat: Primer, vinyl wash, MPI #80.

Pittsburgh Paints; Spectracron 701/702 Wash Primer; applied at 0.4 to 0.5 mils DFT.

Intermediate Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires second topcoat. Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Two coats of pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Aluminum (Not Anodized or Otherwise Coated) Substrates:

Epoxy System: MPI EXT 5.4E.

Note that vinyl wash primer has a high VOC content and may not be available in some localities.

Prime Coat: Primer, vinyl wash, MPI #80.

Pittsburgh Paints; Spectracron 701/702 Wash Primer; applied at 0.4 to 0.5 mils DFT.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Pigmented Polyurethane over Vinyl Wash Primer and Epoxy Primer System: MPI EXT 5.4B.

Note that vinyl wash primer has a high VOC content and may not be available in some localities.

Prime Coat: Primer, vinyl wash, MPI #80.

Pittsburgh Paints; Spectracron 701/702 Wash Primer; applied at 0.4 to 0.5 mils DFT.

Intermediate Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires second topcoat. Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Two coats of pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Copper Substrates:

Epoxy System: MPI EXT 5.5E.

Note that vinyl wash primer has a high VOC content and may not be available in some localities.

Prime Coat: Primer, vinyl wash, MPI #80.

Pittsburgh Paints; Spectracron 701/702 Wash Primer; applied at 0.4 to 0.5 mils DFT.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete first "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Pigmented Polyurethane over Vinyl Wash Primer and Epoxy Primer System: MPI EXT 5.5B.

Note that vinyl wash primer has a high VOC content and may not be available in some localities.

Prime Coat: Primer, vinyl wash, MPI #80.

Pittsburgh Paints; Spectracron 701/702 Wash Primer; applied at 0.4 to 0.5 mils DFT.

Intermediate Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires second topcoat. Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Two coats of pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Stainless Steel Substrates:

Epoxy System: MPI EXT 5.6D.

Prime Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Pigmented Polyurethane over Vinyl Wash Primer and Epoxy Primer System: MPI EXT 5.6B.

Note that vinyl wash primer has a high VOC content and may not be available in some localities.

Prime Coat: Primer, vinyl wash, MPI #80.

Pittsburgh Paints; Spectracron 701/702 Wash Primer; applied at 0.4 to 0.5 mils DFT.

Intermediate Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires second topcoa.. Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Two coats of pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [[High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT]Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

EXTERIOR HIGH-PERFORMANCE COATING SCHEDULE, WOOD SUBSTRATES

Coating systems in this article are based on "MPI Architectural Painting Specification Manual" for new construction. For renovation and maintenance projects where repainting is required, consult "MPI Maintenance Repainting Manual" and revise coating systems accordingly.

If necessary, insert drawing designations. Use these designations on Drawings to identify locations of each paint system.

Glued-Laminated Wood Substrates:

Pigmented Polyurethane System: MPI EXT 6.1J.

Prime Coat: Polyurethane, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Polyurethane, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT]].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Exposed Wood-Framed Substrates:

Pigmented Polyurethane System: MPI EXT 6.2J.

Prime Coat: Polyurethane, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Polyurethane, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Clear (Two-Component) Polyurethane System: MPI EXT 6.2H.

Prime Coat: Polyurethane, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Polyurethane, matching topcoat.

Topcoat: Varnish, aliphatic polyurethane, two component, MPI #78.

<Insert manufacturer's name; product name or designation>.

Dressed Wood Substrates: [Wood trim] [Architectural woodwork] [Doors] [Windows] [Wood board siding] [Railings] [and] [Fences] <Insert requirements>.

Pigmented Polyurethane System: MPI EXT 6.3H.

Prime Coat: Polyurethane, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Polyurethane, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Clear (Two-Component) Polyurethane System: MPI EXT 6.3G.

Prime Coat: Polyurethane, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Polyurethane, matching topcoat.

Topcoat: Varnish, aliphatic polyurethane, MPI #78.

<Insert manufacturer's name; product name or designation>.

EXTERIOR HIGH-PERFORMANCE COATING SCHEDULE, MISCELLANEOUS SUBSTRATES

Coating systems in this article are based on "MPI Architectural Painting Specification Manual" for new construction. For renovation and maintenance projects where repainting is required, consult "MPI Maintenance Repainting Manual" and revise coating systems accordingly.

If necessary, insert drawing designations. Use these designations on Drawings to identify locations of each paint system.

Fiberglass Substrates:

Epoxy System: MPI EXT 6.7F.

Prime Coat: Epoxy, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Epoxy-Modified Latex System: MPI EXT 6.7E.

Prime Coat: Epoxy-modified latex, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy-modified latex, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy-modified latex, semigloss (MPI Gloss Level G5), MPI #215.

Pittsburgh Paints; Aquapon WB EP Water-Borne Semi-Gloss Epoxy, 98E-1/98E-100 Series; applied at 2.0 to 4.0 mils DFT.

Topcoat: Epoxy-modified latex, gloss (MPI Gloss Level G6), MPI #115.

Pittsburgh Paints; Aquapon WB EP Water-Borne Gloss Epoxy, 98E-1/98E-98 Series; applied at 2.0 to 4.0 mils DFT

Pigmented Polyurethane over Epoxy System: MPI EXT 6.7D.

Prime Coat: Epoxy, matching intermediate coat.

Intermediate Coat: Epoxy, semigloss, MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

INTERIOR HIGH-PERFORMANCE COATING SCHEDULE, CONCRETE SUBSTRATES

Coating systems in this article are based on "MPI Architectural Painting Specification Manual" for new construction. For renovation and maintenance projects where repainting is required, consult "MPI Maintenance Repainting Manual" and revise coating systems accordingly.

If necessary, insert drawing designations. Use these designations on Drawings to identify locations of each paint system.

Vertical (Nontraffic) Surfaces:

MPI recommends epoxy system below for smooth concrete.

Epoxy System: MPI INT 3.1F.

Prime Coat: Epoxy, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Epoxy, High-Build System: MPI INT 3.1P.

Prime Coat: Epoxy, high-build, matching topcoat (reduced).

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, high-build, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, high-build, low gloss, MPI #108.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, high-build, gloss, MPI #98.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

MPI recommends epoxy-modified latex system below for smooth concrete.

Epoxy-Modified Latex System: MPI INT 3.1G.

Prime Coat: Epoxy-modified latex, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy-modified latex, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy-modified latex, semigloss (MPI Gloss Level G5), MPI #215.

Pittsburgh Paints; Aquapon WB EP Water-Borne Semi-Gloss Epoxy, 98E-1/98E-100 Series; applied at 2.0 to 4.0 mils DFT.

Topcoat: Epoxy-modified latex, gloss (MPI Gloss Level G6), MPI #115.

Pittsburgh Paints; Aquapon WB EP Water-Borne Gloss Epoxy, 98E-1/98E-98 Series; applied at 2.0 to 4.0 mils DFT

Horizontal (Traffic) Surfaces.

MPI recommends epoxy system below for smooth concrete.

Epoxy System: MPI INT 3.2C.

Prime Coat: Epoxy, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Epoxy, High-Build System with SRA: MPI INT 3.2L.

Prime Coat: Epoxy, high-build, matching topcoat (reduced).

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, high-build, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, high-build, low gloss, MPI #108.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy + SRA; applied at 4.0 to 8.0 mils DFT] [600 Series High Solids Epoxy + SRA; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, high-build, gloss, MPI #98.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy + SRA; applied at 5.0 to 10.0 mils DFT.

Pigmented Polyurethane System: MPI INT 3.2D.

Prime Coat: Epoxy, semigloss, MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Prime Coat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Polyurethane, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Polyurethane, High-Build System with SRA.

Prime Coat: High-build epoxy, matching topcoat (reduced).

Intermediate Coat: Epoxy, high-build, low gloss, MPI #108.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, high-build, gloss, MPI #98.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss + SRA, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series + SRA; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series + SRA; applied at 2.0 to 3.0 mils DFT.

Clear (Two-Component) Polyurethane System: MPI INT 3.2K.

Prime Coat: Polyurethane, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Polyurethane, matching topcoat.

Topcoat: Varnish, aliphatic polyurethane, MPI #78.

<Insert manufacturer's name; product name or designation>.

INTERIOR HIGH-PERFORMANCE COATING SCHEDULE, CEMENTITIOUS SUBSTRATES

Coating systems in this article are based on "MPI Architectural Painting Specification Manual" for new construction. For renovation and maintenance projects where repainting is required, consult "MPI Maintenance Repainting Manual" and revise coating systems accordingly.

If necessary, insert drawing designations. Use these designations on Drawings to identify locations of each paint system.

Cementitious Composition Board Substrates: [Siding] [Trim] [Panels] <Insert requirements>.

Epoxy System: MPI INT 3.3E.

Prime Coat: Epoxy, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Epoxy-Modified Latex System: MPI INT 3.3D.

Prime Coat: Epoxy-modified latex, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy-modified latex, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy-modified latex, semigloss (MPI Gloss Level G5), MPI #215.

Pittsburgh Paints; Aquapon WB EP Water-Borne Semi-Gloss Epoxy, 98E-1/98E-100 Series; applied at 2.0 to 4.0 mils DFT.

Topcoat: Epoxy-modified latex, gloss (MPI Gloss Level G6), MPI #115.

Pittsburgh Paints; Aquapon WB EP Water-Borne Gloss Epoxy, 98E-1/98E-98 Series; applied at 2.0 to 4.0 mils DFT

INTERIOR HIGH-PERFORMANCE COATING SCHEDULE, MASONRY SUBSTRATES

Coating systems in this article are based on "MPI Architectural Painting Specification Manual" for new construction. For renovation and maintenance projects where repainting is required, consult "MPI Maintenance Repainting Manual" and revise coating systems accordingly.

If necessary, insert drawing designations. Use these designations on Drawings to identify locations of each paint system.

Clay Masonry Substrates:

MPI recommends epoxy system below for smooth brick.

Epoxy System: MPI INT 4.1F.

Prime Coat: Epoxy, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

MPI recommends epoxy-modified latex system below for smooth brick.

Epoxy-Modified Latex System: MPI INT 4.1G.

Prime Coat: Epoxy-modified latex, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy-modified latex, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy-modified latex, semigloss (MPI Gloss Level G5), MPI #215.

Pittsburgh Paints; Aquapon WB EP Water-Borne Semi-Gloss Epoxy, 98E-1/98E-100 Series; applied at 2.0 to 4.0 mils DFT.

Topcoat: Epoxy-modified latex, gloss (MPI Gloss Level G6), MPI #115.

Pittsburgh Paints; Aquapon WB EP Water-Borne Gloss Epoxy, 98E-1/98E-98 Series; applied at 2.0 to 4.0 mils DFT

Clear (Two-Component) Polyurethane System: MPI INT 4.1K.

Prime Coat: Polyurethane, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Polyurethane, matching topcoat.

Topcoat: Varnish, aliphatic polyurethane, MPI #78.

<Insert manufacturer's name; product name or designation>.

CMU Substrates:

Epoxy System: [MPI INT 4.2F] [MPI INT 4.2G].

Retain one of two "Block Filler" subparagraphs below; first corresponds to MPI INT 4.2F, which MPI recommends for dry environments; second corresponds to MPI INT 4.2G, which MPI recommends for wet environments.

Block Filler: Block filler, latex, interior/exterior, MPI #4.

Pittsburgh Paints; [Perma-Crete Concrete Block & Masonry Surfacer/Filler, 4-100XI; applied at 8.0 to 11.0 mils DFT] [Speedhide Interior/Exterior Masonry Hi Fill Latex Block Filler, 6-15XI; applied at 8.0 mils DFT].

Block Filler: Block filler, epoxy, MPI #116.

PPG Protective and Marine Coatings; Amerlock 400 BF Epoxy Masonry Block Filler; applied at 10.0 to 20.0 mils DFT.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Epoxy, High-Build System: MPI INT 4.2R.

Prime Coat: Epoxy block filler, MPI #116.

PPG Protective and Marine Coatings; Amerlock 400 BF Epoxy Masonry Block Filler; applied at 10.0 to 20.0 mils DFT.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, high-build, matching topcoat.

Retain one of two "Topcoat" Subparagraph below for desired gloss level.

Topcoat: Epoxy, high-build, low gloss, MPI #108.

PPG Protective and Marine Coatings; Amerlock [400 High Solids Epoxy; applied at 4.0 to 8.0 mils DFT] [600 Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, high-build, gloss, MPI #98.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

MPI recommends epoxy-modified latex system below for dry environments.

Epoxy-Modified Latex System: MPI INT 4.2J.

Block Filler: Block filler, latex, interior/exterior, MPI #4.

Pittsburgh Paints; [Perma-Crete Concrete Block & Masonry Surfacer/Filler, 4-100XI; applied at 8.0 to 11.0 mils DFT] [Speedhide Interior/Exterior Masonry Hi Fill Latex Block Filler, 6-15XI; applied at 8.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy-modified latex, interior, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy-modified latex, semigloss (MPI Gloss Level G5), MPI #215.

Pittsburgh Paints; Aquapon WB EP Water-Borne Semi-Gloss Epoxy, 98E-1/98E-100 Series; applied at 2.0 to 4.0 mils DFT.

Topcoat: Epoxy-modified latex, gloss (MPI Gloss Level G6), MPI #115.

Pittsburgh Paints; Aquapon WB EP Water-Borne Gloss Epoxy, 98E-1/98E-98 Series; applied at 2.0 to 4.0 mils DFT

Clear (Two-Component) Polyurethane System: MPI INT 4.2Q.

Prime Coat: Polyurethane, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Polyurethane, matching topcoat.

Topcoat: Varnish, aliphatic polyurethane, MPI #78.

<Insert manufacturer's name; product name or designation>.

INTERIOR HIGH-PERFORMANCE COATING SCHEDULE, METAL SUBSTRATES

Coating systems in this article are based on "MPI Architectural Painting Specification Manual" for new construction. For renovation and maintenance projects where repainting is required, consult "MPI Maintenance Repainting Manual" and revise coating systems accordingly.

If necessary, insert drawing designations. Use these designations on Drawings to identify locations of each paint system.

Steel Substrates:

Epoxy System: MPI INT 5.1L.

Prime Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Intermediate Coat: Epoxy, high-build, gloss, MPI #98.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

High-Build Epoxy over Epoxy Zinc-Rich Primer System: MPI INT 5.1P.

Prime Coat: Primer, zinc-rich, epoxy, MPI #20.

[PPG Protective and Marine Coatings; Amercoat 68 HS Zinc Rich Epoxy; applied at 2.0 to 5.0 mils DFT] [Pittsburgh Paints; Aquapon Zinc Rich Epoxy 97-670; applied at 3.0 to 5.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, high build, low gloss, MPI #108.

PPG Protective and Marine Coatings; Amerlock [400 High Solids Epoxy; applied at 4.0 to 8.0 mils DFT] [600 Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, high-build, low gloss, MPI #108.

PPG Protective and Marine Coatings; Amerlock [400 High Solids Epoxy; applied at 4.0 to 8.0 mils DFT] [600 Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, high-build, gloss, MPI #98.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Epoxy over High-Build Self-Priming Epoxy System: MPI INT 5.1V.

Prime Coat: Epoxy, high build, self-priming, MPI #120.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Epoxy, High-Build System: MPI INT 5.1Y.

Prime Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, high-build, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, high-build, low gloss, MPI #108.

PPG Protective and Marine Coatings; Amerlock [400 High Solids Epoxy; applied at 4.0 to 8.0 mils DFT] [600 Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, high-build, gloss, MPI #98.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Epoxy Deck Coating System: MPI INT 5.1LL.

Prime Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Topcoat: Epoxy deck coating (slip resistant), MPI #82.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy + SRA; applied at 4.0 to 8.0 mils DFT] [600 Series High Solids Epoxy + SRA; applied at 5.0 to 10.0 mils DFT].

Polyurethane Deck Coating System.

Prime Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT] [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT].

Intermediate Coat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Topcoat: Polyurethane deck coating (slip resistant), MPI #83.

Pittsburgh Paints; Pitthane [Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series + SRA; applied at 2.0 to 5.0 mils DFT] [Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series + SRA; applied at 2.0 to 3.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series + SRA; applied at 2.0 to 4.0 mils DFT].

Polyurethane, High-Build Deck Coating System with SRA.

Prime Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, high-build, low gloss, MPI #108.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, high-build, gloss, MPI #98.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Topcoat: Polyurethane deck coating (slip resistant), MPI #83.

Pittsburgh Paints; Pitthane [Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series + SRA; applied at 2.0 to 5.0 mils DFT] [Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series + SRA; applied at 2.0 to 3.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series + SRA; applied at 2.0 to 4.0 mils DFT].

Epoxy-Modified Latex System: MPI INT 5.1K.

Prime Coat: Primer, rust inhibitive, water based, MPI #107.

Pittsburgh Paints; Pitt-Tech Plus EP Interior/Exterior Industrial DTM Red Primer, 90-1908; applied at 2.0 to 3.0 mils DFT.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy-modified latex, interior, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy-modified latex, semigloss (MPI Gloss Level G5), MPI #215.

Pittsburgh Paints; Aquapon WB EP Water-Borne Semi-Gloss Epoxy, 98E-1/98E-100 Series; applied at 2.0 to 4.0 mils DFT.

Topcoat: Epoxy-modified latex, gloss (MPI Gloss Level G6), MPI #115.

Pittsburgh Paints; Aquapon WB EP Water-Borne Gloss Epoxy, 98E-1/98E-98 Series; applied at 2.0 to 4.0 mils DFT

Pigmented Polyurethane over Epoxy Primer System: MPI INT 5.1F.

Prime Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Polyurethane, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Pigmented Polyurethane over High-Build Epoxy System: MPI INT 5.1G.

Prime Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Retain one of two "Intermediate Coat" subparagraphs below for desired gloss level.

Intermediate Coat: Epoxy, high-build, low gloss, MPI #108.

PPG Protective and Marine Coatings; Amerlock [400 High Solids Epoxy; applied at 4.0 to 8.0 mils DFT] [600 Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, high-build, gloss, MPI #98.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Pigmented Polyurethane over Self-Priming Epoxy System: MPI INT 5.1U.

Prime Coat: Epoxy, high build, self-priming, MPI #120.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Polyurethane, two component, pigmented, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Pigmented Polyurethane over Inorganic Zinc and Epoxy System: MPI INT 5.1H.

Prime Coat: Primer, zinc rich, inorganic, MPI #19.

PPG Protective and Marine Coatings; [Dimetcote 9 two-component, moisture-curing zinc (ethyl) silicate, applied at 2.0 to 4.0 mils DFT] [Dimetcote 9H Inorganic Zinc Silicate Primer; applied at 2.0 to 5.0 mils DFT] [Metalhide One Pac one-component, inorganic zinc silicate primer, 97-676, applied at 3.0 to 4.0 mils DFT].

Intermediate Coat: Epoxy, high-build, low gloss, MPI #108.

PPG Protective and Marine Coatings; Amerlock [400 High Solids Epoxy; applied at 4.0 to 8.0 mils DFT] [600 Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, high-build, gloss, MPI #98.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Intermediate Coat: Epoxy, gloss, MPI #77.

<Insert manufacturer's name; product name or designation>.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Pigmented Polyurethane over Epoxy Zinc-Rich and Epoxy System: MPI INT 5.1J.

Prime Coat: Primer, zinc rich, epoxy, MPI #20.

[PPG Protective and Marine Coatings; Amercoat 68 HS Zinc Rich Epoxy; applied at 2.0 to 5.0 mils DFT] [Pittsburgh Paints; Aquapon Zinc Rich Epoxy 97-670; applied at 3.0 to 5.0 mils DFT].

Intermediate Coat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Galvanized metal substrates should not be chromate passivated if primers are field applied. If galvanized metal is chromate passivated, consult manufacturers for appropriate primers.

Galvanized Metal Substrates:

Epoxy over Epoxy Primer System: MPI INT 5.3D.

Prime Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Aluminum (Not Anodized or Otherwise Coated) Substrates:

Epoxy System: [MPI INT 5.4B] [MPI INT 5.4K].

Retain first "Prime Coat" Subparagraph below for MPI INT 5.4B; retain second for MPI INT 5.4K. Note that vinyl wash primer has a high VOC content and may not be available in some localities.

Prime Coat: Primer, vinyl wash, MPI #80.

Pittsburgh Paints; Spectracron 701/702 Wash Primer; applied at 0.4 to 0.5 mils DFT.

Prime Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Pigmented Polyurethane System: MPI INT 5.4C.

Note that vinyl wash primer has a high VOC content and may not be available in some localities.

Prime Coat: Primer, vinyl wash, MPI #80.

Pittsburgh Paints; Spectracron 701/702 Wash Primer; applied at 0.4 to 0.5 mils DFT.

Intermediate Coat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Copper Substrates:

Epoxy System: MPI INT 5.5B.

Prime Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Pigmented Polyurethane System: MPI INT 5.5C.

Note that vinyl wash primer has a high VOC content and may not be available in some localities.

Prime Coat: Primer, vinyl wash, MPI #80.

Pittsburgh Paints; Spectracron 701/702 Wash Primer; applied at 0.4 to 0.5 mils DFT.

Intermediate Coat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Stainless Steel Substrates:

Epoxy System: MPI INT 5.6C.

Prime Coat: Primer, epoxy, anti-corrosive, for metal, MPI #101.

PPG Protective and Marine Coatings; [Amercoat 235 Multi-Purpose Phenalkamine Epoxy; applied at 4.0 to 8.0 mils DFT] [Amerlock 2 AL Aluminum Epoxy Mastic; applied at 4.0 to 8.0 mils DFT] [Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Pigmented Polyurethane System: MPI INT 5.6D.

Note that vinyl wash primer has a high VOC content and may not be available in some localities.

Prime Coat: Primer, vinyl wash, MPI #80.

Pittsburgh Paints; Spectracron 701/702 Wash Primer; applied at 0.4 to 0.5 mils DFT.

Intermediate Coat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT] [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

INTERIOR HIGH-PERFORMANCE COATING SCHEDULE, WOOD SUBSTRATES

Coating systems in this article are based on "MPI Architectural Painting Specification Manual" for new construction. For renovation and maintenance projects where repainting is required, consult "MPI Maintenance Repainting Manual" and revise coating systems accordingly.

If necessary, insert drawing designations. Use these designations on Drawings to identify locations of each paint system.

Glued-Laminated Wood Substrates:

Epoxy System: MPI INT 6.1L.

Prime Coat: Epoxy, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Pigmented Polyurethane System: MPI INT 6.1E.

Prime Coat: Polyurethane, matching topcoat.

Intermediate Coat: Polyurethane, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT] [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

Clear (Two-Component) Polyurethane System: MPI INT 6.1W.

Prime Coat: Polyurethane, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Polyurethane, matching topcoat.

Topcoat: Varnish, aliphatic polyurethane, MPI #78.

<Insert manufacturer's name; product name or designation>.

Exposed Wood-Framed Substrates:

Clear (Two-Component) Polyurethane System: MPI INT 6.2Q.

Prime Coat: Polyurethane, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Polyurethane, matching topcoat.

Topcoat: Varnish, aliphatic polyurethane, MPI #78.

<Insert manufacturer's name; product name or designation>.

Dressed Wood Substrates: [Wood trim] [Architectural woodwork] [Doors] [Windows] [and] [Wood board paneling].

Epoxy System: MPI INT 6.3L.

Prime Coat: Epoxy, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Clear (Two-Component) Polyurethane System: MPI INT 6.3Z.

Prime Coat: Polyurethane, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Polyurethane, matching topcoat.

Topcoat: Varnish, aliphatic polyurethane, MPI #78.

<Insert manufacturer's name; product name or designation>.

Wood Traffic Substrates: [Floors] [and] [stairs].

Epoxy Game Line Marking: MPI INT 6.5F.

Prime Coat: Epoxy, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Clear (Two-Component) Polyurethane System: MPI INT 6.5M.

Prime Coat: Polyurethane, matching topcoat.

Pittsburgh Paints; Seal Grip Interior Latex Wood Primer, 17-921XI Series; applied at 1.6 mils DFT.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Polyurethane, matching topcoat.

Topcoat: Varnish, aliphatic polyurethane, MPI #78.

<Insert manufacturer's name; product name or designation>.

Additive: Manufacturer's standard additive to increase skid resistance of coated surface.

INTERIOR HIGH-PERFORMANCE COATING SCHEDULE, GYPSUM-BASED SUBSTRATES

Coating systems in this article are based on "MPI Architectural Painting Specification Manual" for new construction. For renovation and maintenance projects where repainting is required, consult "MPI Maintenance Repainting Manual" and revise coating systems accordingly.

If necessary, insert drawing designations. Use these designations on Drawings to identify locations of each paint system.

Gypsum Board and Plaster Substrates:

Epoxy System: MPI INT 9.2E.

Prime Coat: Primer sealer, latex, interior, MPI #50.

Pittsburgh Paints; [Pure Performance Interior Latex Primer, 9-900; applied at 1.4 mils DFT] [Speedhide Interior Latex Quick-Drying Sealer, 6-2; applied at 1.0 mils DFT] [Speedhide Zero Interior Latex Sealer, 6-4900XI; applied at 1.4 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Epoxy, High-Build System: MPI INT 9.2N.

Prime Coat: Primer sealer, latex, interior, MPI #50.

Pittsburgh Paints; [Pure Performance Interior Latex Primer, 9-900; applied at 1.4 mils DFT] [Speedhide Interior Latex Quick-Drying Sealer, 6-2; applied at 1.0 mils DFT] [Speedhide Zero Interior Latex Sealer, 6-4900XI; applied at 1.4 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, high-build, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, high-build epoxy, low gloss, MPI #108.

PPG Protective and Marine Coatings; Amerlock [400 High Solids Epoxy; applied at 4.0 to 8.0 mils DFT] [600 Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Intermediate Coat: Epoxy, high-build, gloss, MPI #98.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Epoxy-Modified Latex System: MPI INT 9.2F.

Prime Coat: Primer sealer, latex, interior, MPI #50.

Pittsburgh Paints; [Pure Performance Interior Latex Primer, 9-900; applied at 1.4 mils DFT] [Speedhide Interior Latex Quick-Drying Sealer, 6-2; applied at 1.0 mils DFT] [Speedhide Zero Interior Latex Sealer, 6-4900XI; applied at 1.4 mils DFT].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy-modified latex, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy-modified latex, semigloss (MPI Gloss Level G5), MPI #215.

Pittsburgh Paints; Aquapon WB EP Water-Borne Semi-Gloss Epoxy, 98E-1/98E-100 Series; applied at 2.0 to 4.0 mils DFT.

Topcoat: Epoxy-modified latex, gloss (MPI Gloss Level G6), MPI #115.

Pittsburgh Paints; Aquapon WB EP Water-Borne Gloss Epoxy, 98E-1/98E-98 Series; applied at 2.0 to 4.0 mils DFT

INTERIOR HIGH-PERFORMANCE COATING SCHEDULE, MISCELLANEOUS SUBSTRATES

Coating systems in this article are based on "MPI Architectural Painting Specification Manual" for new construction. For renovation and maintenance projects where repainting is required, consult "MPI Maintenance Repainting Manual" and revise coating systems accordingly.

If necessary, insert drawing designations. Use these designations on Drawings to identify locations of each paint system.

Fiberglass Substrates:

Epoxy System: MPI INT 6.7D.

Prime Coat: Epoxy, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Topcoat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

Pigmented Polyurethane System: MPI INT 6.7E.

Prime Coat: Epoxy, semigloss (MPI Gloss Level G5), MPI #177.

PPG Protective and Marine Coatings; Amerlock [400 Series High Solids Epoxy; applied at 4.0 mils to 8.0 mils DFT] [600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT].

Prime Coat: Epoxy, gloss, MPI #77.

PPG Protective and Marine Coatings; Amerlock 600 Series Multi-Purpose Epoxy Coating; applied at 5.0 to 10.0 mils DFT.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy, matching prime coat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Pigmented polyurethane, semigloss (MPI Gloss Level G5), MPI #174.

Pittsburgh Paints; Pitthane [Ultra LS Aliphatic Acrylic Urethane Low-Sheen, 95-8901/95-899 Series; applied at 2.0 to 4.0 mils DFT] [High Build Acrylic Aliphatic Urethane Semi-Gloss, 95-8800/95-859 Series; applied at 2.0 to 5.0 mils DFT].

Topcoat: Pigmented polyurethane, gloss (MPI Gloss Levels G6 and G7), MPI #72.

Pittsburgh Paints; Pitthane Ultra Acrylic Aliphatic Urethane Gloss, 95-812/95-819 Series; applied at 2.0 to 3.0 mils DFT.

MPI recommends epoxy-modified latex system below for dry environments.

Epoxy-Modified Latex System: MPI INT 6.7F.

Prime Coat: Epoxy-modified latex, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete "Intermediate Coat" Subparagraph below for a Budget Grade system.

Intermediate Coat: Epoxy-modified latex, interior, matching topcoat.

Retain one of two "Topcoat" subparagraphs below for desired gloss level.

Topcoat: Epoxy-modified latex, semigloss (MPI Gloss Level G5), MPI #215.

Pittsburgh Paints; Aquapon WB EP Water-Borne Semi-Gloss Epoxy, 98E-1/98E-100 Series; applied at 2.0 to 4.0 mils DFT.

Topcoat: Epoxy-modified latex, gloss (MPI Gloss Level G6), MPI #115.

Pittsburgh Paints; Aquapon WB EP Water-Borne Gloss Epoxy, 98E-1/98E-98 Series; applied at 2.0 to 4.0 mils DFT

END OF SECTION 099601